## Devices
DeviceType | DeviceLocation | DeviceAddress/IdNumber | DeviceLocated | DeviceMake | DeviceModel | DeviceSize
Smoke Detector |  | Lobby | B-329 | 1 | Notifier | FSP-851
Note on A1: Device Type should match one of the types on the Second Sheet. If not, it will be highlighted in red

## Device Types
Device Type | Type | Do not change these values
Emergency Exit | Emergency Exit/Light
Emergency Light | Emergency Exit/Light
Combo Unit | Emergency Exit/Light
Air Pressure Supervisory Switch | Sprinkler
Ball Valve | Sprinkler
Bell | Sprinkler
Butterfly Valve | Sprinkler
Control Valve | Sprinkler
Horn | Sprinkler
Horn/Strobe | Sprinkler
OS&Y Valve | Sprinkler
Post Indicator Valve | Sprinkler
Supervisory Switch | Sprinkler
Water Flow Alarm | Sprinkler
Water Motor Gong | Sprinkler
Wall Indicator Valve | Sprinkler
AHU Shutdown | Suppression
Beam Detector | Suppression
Bell | Suppression
Carbon Monoxide Detector | Suppression
Door Holder | Suppression
Door Lock | Suppression
Duct Detector | Suppression
Elevator Recall | Suppression
Fire/Smoke Damper | Suppression
Fire Phone | Suppression
Fire Phone Jack | Suppression
Heat Detector | Suppression
Horn | Suppression
Horn/Strobe | Suppression
Pull Station | Suppression
Smoke/Carbon Monoxide Detector | Suppression
Smoke Detector | Suppression
Speaker | Suppression
Speaker/Strobe | Suppression
Strobe | Suppression
Tamper/Supervisory Indicator | Suppression
Vertical Roll Down Door | Suppression
WAN Door | Suppression
Water Flow Alarm | Suppression
AHU Shutdown | Alarm
Beam Detector | Alarm
Bell | Alarm
Carbon Monoxide Detector | Alarm
Door Holder | Alarm
Door Lock | Alarm
Duct Detector | Alarm
Elevator Recall | Alarm
Fire/Smoke Damper | Alarm
Fire Phone | Alarm
Fire Phone Jack | Alarm
Heat Detector | Alarm
Horn | Alarm
Horn/Strobe | Alarm
Pull Station | Alarm
Smoke/Carbon Monoxide Detector | Alarm
Smoke Detector | Alarm
Speaker | Alarm
Speaker/Strobe | Alarm
Strobe | Alarm
Tamper/Supervisory Indicator | Alarm
Vertical Roll Down Door | Alarm
WAN Door | Alarm
Water Flow Alarm | Alarm
Cylinder | Hood System
Fusible Link | Hood System
Cartridge | Hood System
Cylinder | Special Hazard
Fusible Link | Special Hazard
Heat Detector | Special Hazard
Air Pressure Supervisory Switch | Standpipe/Hose
Ball Valve | Standpipe/Hose
Butterfly Valve | Standpipe/Hose
Control Valve | Standpipe/Hose
OS&Y Valve | Standpipe/Hose
Post Indicator Valve | Standpipe/Hose
Pressure Switch | Standpipe/Hose
Pressure Restricting Valve | Standpipe/Hose
Pressure Reducing Valve | Standpipe/Hose
Supervisory Switch | Standpipe/Hose
Water Flow Alarm | Standpipe/Hose
Water Motor Gong | Standpipe/Hose
Wall Indicator Valve | Standpipe/Hose